## Slide 1
Reservoir
<Odin1.PS1>-E1
Inlet tunnel, part 1
_______
Inlet tunnel, part 2
_______
Creek intake
_______
Surge Shaft/Chamber
_______
Pressure shafts
1,2 and 3
<Odin1.PS1>-C1 (Inlet Waterway)
<Odin1.PS1>-A1.KA1 (Unit 1, MIV)
<Odin1.PS1>-A2.KA1 (Unit 2, MIV)
<Odin1.PS1>-A3.KA1 (Unit 3, MIV)
- _______
_______
_______
Penstock
Tunnel intake
_______
Emergency
Closing Valve
_______

## Slide 2
Reservoir
<Odin1.PS1>-E1
Inlet tunnel, part 1
-C1.JB11
Inlet tunnel, part 2
-C1.JB12
Creek intake
-C1.HB1
Surge Shaft/Chamber
-C1.PF1
Pressure shafts
1,2 and 3
<Odin1.PS1>-C1 (Inlet Waterway)
<Odin1.PS1>-A1.KA1 (Unit 1, MIV)
<Odin1.PS1>-A2.KA1 (Unit 2, MIV)
<Odin1.PS1>-A3.KA1 (Unit 3, MIV)
-C1.JB21
-C1.JB22
-C1.JB23
Tunnel
Penstock
Tunnel intake
-C1.KA1
Emergency
Closing Valve
-C1.KA2

## Slide 3: CCPP
Compressor
Gas turbine
Generator
Boiler
Combustion
Demineralization
Combined cycle power plant
Gas
Air
Residual heat
(air)
Pump
Condenser
Water
Steam turbine
Generator
Steam
Cooling
Cooling Water

## Slide 4: CCPP
Compressor
Gas turbine
Generator
Boiler
Combustion
Demineralization
Combined cycle power plant
Gas
Air
Residual heat
(air)
Pump
Condenser
Water
Steam turbine
Generator
Steam
Cooling
Cooling Water

## Slide 5: CCPP
Combined cycle power plant
Group:___

## Slide 6: CCPP
Combined cycle power plant
Group:___

## Slide 7: CCPP
Compressor
Gas turbine
Generator
Steam turbine
Generator
Boiler
Pump
Condenser
Cooling
Combustion
Gas Pre-treatment
Steam cycle control system
Demineralization
Gas cycle control system
Plant control system
Combined cycle power plant
Gas
Air
Residual heat
(air)
Water
Steam
Cooling Water
=A1 Gas Unit
=A2 Steam Unit
=F1 Plant governing system
=RC1
=RA1
=LA1
=RD1
=KC1
=HA1
=HA1
=RC1
=RA1
=LA1
=KC1
=KE1
=HE2
=HE1

## Slide 8
=A1.JE1.KF1
Unit 1, Switch gear system, Unit transformer
KF - treatment system for transforming electrical energy

## Slide 9
HV Bushing (x3)
LV Bushing (x3)
HV Winding, L1
LV Winding, L1
Inter-winding insulation, L1
Oil coolers (water)
Oil circulation pumps (water)
Oil extraction
Automation system
Breather
Conservator
Bushholtz relay
Core
- PRODUCT

## Slide 10
- PRODUCT

## Slide 11
= Function